The simulation about signal processing in wavenumber and scanning distance domains of white-light interferometers

I. The first case: φd(σ) = 0 and I(σ) is symmetric.

Fig.1 shows a white-light scanning interferometer (WLSI) with a white-light source whose spectral intensity is I(), where  is wavenumber. The position of an object surface is zo, and the position z of a reference surface is scanned by a piezoelectric transducer (PZT). An interference signal is detected with a camera when the PZT is moving. The interference signal has the two components and one of them is constant during the scanning of z. Omitting this constant component, the interference signal expressed as a function of the scanning position z is given by

Assume  is defined as

where phase d() is a dispersion phase caused by two sides of unequal length in a cubic beam splitter. Fourier transform of  or the spectral distribution in the region of positive wavenumbers is expressed as

IFT (Inverse Fourier transform) ofis defined as

So, there are two Fourier transform pairs.

where L=2(z-zO) and L is the optical path difference.

In addition, assume that  and  form a Fourier transform pair.

Fig. 1  Schematic of a white-light scanning interferometer.

When the distribution of  is symmetric is evenly symmetric about the origin, A(2z)=A(-2z) and .is shown in Fig.2. When  is translated  from the origin to the right, it is equal to that the distribution of I() is symmetric with a central wavenumber , and .

When ,

In the case of , the distribution of SC(z) is shown in Fig.3(a) and Fig.3(b).

Fig. 2 The distribution of I(’) and spectral intensity I()

Fig. 3 IFT (Inverse Fourier transform) of F(σ). (a) The intensity of F(σ). (b) The phase of F(σ).

(c) The intensity of SC(z). (d)The phase of SC(z).

According to the Eq.(9), the amplitude distribution of SC(z) is A(2(z-zO)) and the phase distribution of SC(z) is . So, the peak position in the amplitude distribution of SC(z) is za=zo, and the zero phase position nearest z=za is zp=zo. The period of the unwrapped phase distribution is

Fig.3 shows the simulation about the IFT(Inverse Fourier transform) of F(σ). The relevant parameters of F(σ) and SC(z) are shown in Table 1.

Table 1. The relevant parameters of F(σ) and SC(z).

| σC | zO | λC | za | zp | T |
| --- | --- | --- | --- | --- | --- |
| 1.4525μm-1 | 10μm | 0.6884μm | 10.0000μm | 10.0000μm | 0.3448μm |

σC: Central wavenumber of I(σ).

zO: The position of an object surface.

λC: Central wavelength of I(λ) and λC = 1/σC.

za : The peak position in the amplitude distribution of SC(z).

zp : The zero-phase position in the phase distribution of SC(z).

T : The period of the unwrapped phase distribution of SC(z).

II. The second case: φd(σ) = 0 and I(σ) is asymmetric.

To simulate the spectral distribution of an actual light source, the distribution of I() is asymmetric with a weighted average wavenumber A. The distribution of I(σ) is shown in Fig.4(a). The weighted average wavenumber A is defined as

In order to obtain a more realistic and asymmetric spectral distribution I(σ), here I(σ) is obtained by performing multi-order Gaussian fitting of the actual spectrum. I(σ) can be expressed as

IFT of Gi(σ) is defined as .

So,

From Euler’s formula we can get the intensity and phase distribution of SC(z),

Where L=2(z-zO) and .

Owing to Si(L) = -Si(L), the intensity distribution A(L) is evenly symmetric about L= 0 and phase distribution α(L) is oddly symmetric about L= 0. According to the Eq.(15), the peak position in the amplitude distribution of SC(z) is za=zo, and the zero phase position nearest z=za is zp=zo. Similarly, according to the Eq.(10), the period of the unwrapped phase distribution is almost equal to 1/2A=A/2.

(e)

unwrap

Fig. 4 IFT (Inverse Fourier transform) of F(σ). (a) The intensity of F(σ). (b) The phase of F(σ).

(c) The intensity of SC(z). (d)The phase of SC(z). (e) The unwrap phase of SC(z).

Fig.4 shows the simulation about the IFT(Inverse Fourier transform) of F(σ). Fig.4(a) shows the intensity of F(σ). The interference signal in wavenumber domain is generated in the region from 1.1 μm-1 to 2.1 μm-1 where the weighted average wavenumber A is 1.5510 μm-1 , and the sampling interval ∆σ and the sampling number are 0.00092 μm-1 and 65535, respectively. The phase of F(σ) as shown in Fig.4(b) in which the value zO is 10 μm. The intensity and phase of SC(z) which is IFT(Inverse Fourier transform) of F(σ) as shown in Fig.4(c) and Fig.4(d), respectively. A part interference signal in space domain is selected by a rectangular window whose width was from 4 μm to 16 μm where the value za is 10.0009 μm, as shown in Fig.4(c). The other data outside the rectangular window almost are zero values. In the Fig.4(d), phase of SC(z) is wrapped between -π to π and the value of zp is 10.0009 μm which is equal to za. After unwrapping the phase as shown in Fig.4(e), it is found that the phase is nonlinear. The relevant parameters of F(σ) and SC(z) are shown in Table 2.

Table 2. The relevant parameters of F(σ) and SC(z).

| σA | zO | λA | za | zp | T |
| --- | --- | --- | --- | --- | --- |
| 1.5510μm-1 | 10μm | 0.6447μm | 10.0009μm | 10.0009μm | 0.3288μm |

III. The Third case: φd(σ) ≠ 0 and I(σ) is asymmetric.

In this case, the distribution of I() is asymmetric and there is a dispersion phase d(). The d() is produced by an cand thickness T, d() is given by

Assume that T is 1. Then

So,

Different φd(σ) can be obtained by assigning different values to the parameters.

- When b0 is 35, b1 is -5 and φd(σ) = -4π(35-5σ)σ;

According to the expression of φd(σ), then

The distribution of intensity and phase of F(σ) as shown in Fig.5(a) and Fig.5(b), respectively. The IFT(Inverse Fourier transform) of F(σ) as shown in Fig.5(c) and Fig.5(d). After unwrapping the phase of SC(z), as shown in Fig.4(e), it is found that the phase is nonlinear. In this case, za is equal to zO+2b0 = 90 μm, but the length in the z domain after the inverse Fourier transform is 60.2410 μm. Hence, za is equal to 29.759 μm.

The relevant parameters of F(σ) and SC(z) in the Fig.5 are shown in Table 3.

Table 3. The relevant parameters of F(σ) and SC(z).

| σA | zO | λA | za | zp | T |
| --- | --- | --- | --- | --- | --- |
| 1.5510μm-1 | 10μm | 0.6447μm | 30.5937μm | 30.5308μm | 0.3395μm |
| b0 | b1 | b2 | b3 | zp-zO |  |
| 35 | -5 | 0 | 0 | 20.5308μm |  |

(e)

unwrap

Fig. 5 IFT (Inverse Fourier transform) of F(σ). (a) The intensity of F(σ). (b) The phase of F(σ).

(c) The intensity of SC(z). (d)The phase of SC(z). (e) The unwrap phase of SC(z).

The phase distribution φd(σ) will affect the measurement results, but the phase distribution φd(σ) can be eliminated by the least squares method, as shown in Fig.6. The linear phase function fitted by the least squares method is

where a1 = 4πzO - 31.99 and a0 = -768.

According to Eq.(3), then

So,

The relevant parameters can be obtained from Fig.6 are shown in Table 4.

Table 4. The relevant parameters of F(σ) and SC(z).

| σA | zO | λA | za | zp | T |
| --- | --- | --- | --- | --- | --- |
| 1.5510μm-1 | 10μm | 0.6447μm | 2.5921μm | 2.6798μm | 0.3233μm |
| a1 | a0 | zp-zO |  |  |  |
| 93.61 | -768 | -7.3202μm |  |  |  |

(e)

unwrap

Fig. 6 IFT (Inverse Fourier transform) of F(σ). (a) The intensity of F(σ). (b) The phase of F(σ) after the least squares method.(c) The intensity of SC(z). (d)The phase of SC(z). (e) The unwrap phase of SC(z).

- When b0 is 10, b1 is -1 and φd(σ) = -4π(10-1σ)σ;

In the same way, the amplitude and phase of the inverse Fourier transform of F(σ) can be obtained, as shown in Fig.7. The relevant parameters can be obtained from Fig.6 are shown in Table 5.

Table 5. The relevant parameters of F(σ) and SC(z).

| σA | zO | λA | za | zp | T |
| --- | --- | --- | --- | --- | --- |
| 1.5510μm-1 | 10μm | 0.6447μm | 16.9456μm | 16.8688μm | 0.3232μm |
| b0 | b1 | b2 | b3 | zp-zO |  |
| 10 | -1 | 0 | 0 | 6.8688μm |  |

(e)

unwrap

Fig. 7 IFT (Inverse Fourier transform) of F(σ). (a) The intensity of F(σ). (b) The phase of F(σ).

(c) The intensity of SC(z). (d)The phase of SC(z). (e) The unwrap phase of SC(z).

The inverse Fourier transform process after linear fitting by the least squares method is shown in Fig. 8, and the relevant parameters are shown in Table 6.

Table 6. The relevant parameters of F(σ) and SC(z).

| σA | zO | λA | za | zp | T |
| --- | --- | --- | --- | --- | --- |
| 1.5510μm-1 | 10μm | 0.6447μm | 11.5851μm | 11.7132μm | 0.3292μm |
| a0 | a1 | zp-zO |  |  |  |
| -153.6 | 19 | 1.7132μm |  |  |  |

Fig. 8 IFT (Inverse Fourier transform) of F(σ). (a) The intensity of F(σ). (b) The phase of F(σ) after the least squares method.(c) The intensity of SC(z). (d)The phase of SC(z). (e) The unwrap phase of SC(z).

- When b0 is 16, b1 is -6 and φd(σ) = -4π (26 - 6σ)σ;

In the same way, the amplitude and phase of the inverse Fourier transform of F(σ) can be obtained, as shown in Fig.9. The relevant parameters can be obtained from Fig.6 are shown in Table 7.

Table 7. The relevant parameters of F(σ) and SC(z).

| σA | zO | λA | za | zp | T |
| --- | --- | --- | --- | --- | --- |
| 1.5510μm-1 | 10μm | 0.6447μm | 8.41697μm | 8.35911μm | 0.3350μm |
| b0 | b1 | b2 | b3 | zp-zO |  |
| 16 | -6 | 0 | 0 | -1.64089μm |  |

The inverse Fourier transform process after linear fitting by the least squares method is shown in Fig. 10, and the relevant parameters are shown in Table 8.

Table 8. The relevant parameters of F(σ) and SC(z).

| σA | zO | λA | za | zp | T |
| --- | --- | --- | --- | --- | --- |
| 1.5510μm-1 | 10μm | 0.6447μm | 35.3546μm | 35.3688μm | 0.3233μm |
| a0 | a1 | zp-zO |  |  |  |
| -905.1 | 439.1 | 15.3688μm |  |  |  |

(e)

unwrap

Fig. 9 IFT (Inverse Fourier transform) of F(σ). (a) The intensity of F(σ). (b) The phase of F(σ).

(c) The intensity of SC(z). (d)The phase of SC(z). (e) The unwrap phase of SC(z).

Fig. 10 IFT (Inverse Fourier transform) of F(σ). (a) The intensity of F(σ). (b) The phase of F(σ) after the least squares method.(c) The intensity of SC(z). (d)The phase of SC(z).

To sum up, for different noises, whether to use least squares fitting has a great impact on good measurement results. According to Eq.(25) and Eq.(24), the parameters fitted by the least squares method will have a certain impact on zp. If the following condition(= 0) is satisfied, the value of zp does not changed by noises and the smaller the value of N, the closer zp is to zO.

From the above three situations, we can see that there is an opposite trend between a0 and a1 in the least squares method. Therefore, the measured value of zp is closer to zO than to za.